

MIPAS QWG #9 – Minutes and Action Items
1 / 12
Authors: 
L0: Roland Gessner (Astrium)


L1: Ginette Aubertin (BOMEM)


L2: Claudio Bellotti (IFAC)



MIPAS QWG#9 Minutes
2 / 12

MIPAS QWG9 Minutes of Meeting

1 – 2  February 2006




University of Florence

Astronomy and Space Science Department

Largo Enrico Fermi, 5

Firenze

ACTION ITEMS

	AI ID
	AI description
	Responsability
	Status

	
	Level 0 and Level 1
	
	

	AI_L1_9.01  
	H. Oelhaf to provide inputs to April/May planning (due: 24.02.06)
	H. Oelhaf
	

	AI_L1_9.02  
	P. Mosner (Astrium) to check when the INT heater is supposed to be switched off due to FCA constraints (monitoring requirement) – due date: 17.02.06
	Astrium (PM)
	

	AI_L1_9.03  
	R. Gessner(Astrium) /M. de Laurentis (Rhea) to elaborate a possible scenario to achieve AE measurements over a full orbit (due date: 17.02.06)
	Astrium (RG), ESA (MdL)
	

	AI_L1_9.04  
	Level 2 (TBD) to assess the effects of NESR increase on the retrieval quality 
	TBD
	

	AI_L1_9.05  
	Level 1 (F.Niro/ESRIN or G. Aubertin/BOMEM) to assess the effects of nonlinearity coefficients upon gain increase 
	ESA (FN), BOMEM (GA)
	

	AI_L1_9.06  
	F.Niro/ESRIN to collect the gain data obtained in the mission and distribute to other parties 
	ESA (FN)
	

	AI_L1_9.07  
	P.Mosner/R.Gessner (Astrium) to propose, based on the gain data and the FCA constraint (see AI 03) a sensible date for passive decontamination 
	Astrium (RG,PM)
	

	AI_L1_9.08  
	(ESA, FN) (BOMEM, GA) to check the differences in the gain calibration between the daily and the weekly interpolated gain to individual days. A gain maximum threshold should be defined to decide when decontamination should be performed.
	ESA (FN), BOMEM (GA)
	

	AI_L1_9.09  
	(ESA, FN) to provide a list of the wrong consolidated datasets to the QWG.
	ESA (FN)
	Closed

	AI_L1_9.10  
	(ESA, TF and MD) to double-check if a LOS sideways can be performed.
	ESA (TF and MD)
	

	AI_L1_9.11  
	ABB Bomem to contact Brian Kerridge and check his preference for target-satellite or satellite-target elevation/azimuth angles in topocentric coordinates in MDS record.
	BOMEM (GA)
	

	AI_L1_9.12  
	ESA-FN, ABB BOMEM-GA to extend study to other consolidated products and if confirmed, open an SPR against the Consolidation S/W.
	ESA (FN), BOMEM (GA)
	

	AI_L1_9.13  
	ESA-FN to investigate the problem of excessive MISSING ISPS on L0 MPH on the basis of the L0 processor.
	ESA (FN)
	Closed

	AI_L1_9.14  
	IFAC to perform tests on L2 on the truncated/resampled datasets provided by BOMEM.
	IFAC
	

	AI_L1_9.15  
	ESA-FN, ABB Bomem-GA to compare the input files used while processing L0 product and to identify possible differences in the ADF settings.
	ESA (FN), BOMEM (GA)
	

	AI_L1_9.16  
	ESA-FN to include unavailability EN-UNA-2002/120 (6-22 August 2002) in the list of unavailabilities on the web site.
	ESA (FN)
	

	AI_L1_9.17  
	ABB BOMEM to send actual microwindow dictionary to JMF for checking of position and intensities.
	BOMEM (GA)
	Closed

	AI_L1_9.18  
	ABB BOMEM to calculate the quadratic terms of the spectral calibration and add them in the L1B product.
	BOMEM
	

	AI_L1_9.19  
	ABB BOMEM to include the ILS frequency shift in the ILS calibration for each microwindow. Check if a spare field is available.
	BOMEM
	

	AI_L1_9.20  
	ABB BOMEM to include the IDU temperatures in the MDS record. Check if a spare field is available.
	BOMEM
	

	AI_L1_9.21  
	ABB BOMEM to rank the proposed improvements with the L1B team and provide status/presentations at the next QWG meeting.
	BOMEM
	

	
	Level 2
	
	

	AI_L2_9.01
	ESA to check for the processing specifications at D-PAC
	ESA
	Closed

	AI_L2_9.02
	IFAC and UL to produce an update of the Level2 baseline upgrade document released on 18th Oct 2005 with separate contributions.
	IFAC, UL
	

	AI_L2_9.03
	OU to check if NO2 retrieval can be improved with a different MWs selection
	OU
	

	AI_L2_9.04
	IMK to provide data sets (T, CH4, N2O) for correlative measurements.
	IMK
	

	AI_L2_9.05
	IFAC to study this further test cases
	IFAC
	

	AI_L2_9.06
	OU and UL: To check the impact of this study on the proposed cloud scheme
	OU
	

	AI_L2_9.07
	OU: To check if the correct input files were used in the comparison
	OU
	

	AI_L2_9.08
	IMK, DLR:  To provide justification for a reduction in the radiometric gain error (within 6 weeks see 2.8.a)
	IMK, DLR
	

	AI_L2_9.09
	ALL: to consider possible causes for correlation of residuals with second order error derivative other than ILS broadening (within 6 weeks see 2.8.a).
	All
	

	AI_L2_9.10
	Astrium (S. Bartha)  to verify which profile is used of already retrieved species (within 6 weeks see 2.8.a).
	Astrium
	

	AI_L2_9.11
	UL: To update the error estimate on the climatological values of the unretrieved gases (within 6 weeks see 2.8.a).
	UL
	

	AI_L2_9.12
	LISA to update the error estimates of the spectroscopic database (within 6 weeks see 2.8.a)
	LISA (JMF)
	

	AI_L2_9.13
	UB to update the CO2 line Mixing model (within 6 weeks see 2.8.a).
	UB
	

	AI_L2_9.14
	OU to update the list of errors according to input of the AIs from AI_L2_9.08-9.15 (within 8 weeks see 2.8.a).
	OU
	

	AI_L2_9.15
	OU to process the orbits of 24 September (day/night) for comparison 
with the results of the IMK/IAA retrievals and identify possible differences, in 
particular at high altitudes.
	OU
	

	AI_L2_9.16
	OU, within 8 weeks, possibly earlier, OU to deliver MW, OM, LUTs.
	OU
	

	AI_L2_9.17
	Astrium, within 8 weeks, possibly earlier, to finalise the format of ILS and frequency calculation changes.
	Astrium (SB)
	

	AI_L2_9.18
	IMK to update spectroscopic line list within 16 weeks
	IMK
	

	AI_L2_9.19
	IFAC to define PS2 settings within 16 weeks
	IFAC
	

	AI_L2_9.20
	IFAC to deliver the updated set of ADFs within 18 weeks.
	IFAC
	

	AI_L2_9.21
	OU to produce the error spectra within 18 weeks.
	OU
	

	
	Splinter Meeting
	
	

	AI_S_9.01
	BOMEM: L1b IODD before 15 February 2006.
	BOMEM
	

	AI_S_9.02
	BOMEM to provide Level 1b test file for Level 2 before 01 March.
	BOMEM
	

	AI_S_9.03
	IFAC to provide ASTRIUM with the modified ORM.
	IFAC
	

	AI_S_9.04
	ASTRIUM to provide a timeframe of when the work on MIPAS can begin, as well as a deadline for the L2 IODD before 08 February.
	ASTRIUM
	

	AI_S_9.05
	ESA To clarify if the Level 2 IPF can read “old” Level 1 data
	ESA
	

	AI_S_9.06
	BOMEM to clarify where IFAC can find L1 files (8 and 8.2)
	BOMEM
	


0) Level 0

Welcome and Introductions 
by Director of Astronomy and B. Carli (IFAC) and T.Fehr (ESRIN)

0.1 Introduction (T.Fehr/ESRIN)

· MIPAS instrument status has been improved in ranking from “bad” to “good”, since the operations could be stabilised; ranking was performed by PLSO at ESTEC. MIPAS continues to operate in the experimental mission.

· Funding of ENVISAT continues until 2010.

0.2 Action Item Status (F.Niro/ESRIN)

Presentation of AI status (see handout)

· AI_L2_3.03: difference between retrieved and engineering altitudes in AE mode; Astrium side action closed (since instrument reports unexpected commanding) still not completely resolved

· AI_L2_8.10: Level 2 prototype verification could be performed. M. Oelhaf requested a date when the L2 data from the Teresina campaign can be made available. 

0.3 Mission Planning Status (M.de Laurentis/Rhea)

Presentation of Mission Planning status (see handout)

· The MIPAS “experimental mission” is characterised by a reduced duty cycle where the preferred scenario of industry (3 days ON / 4 days OFF) was not completely implemented. However, in view of the actual operational improvement, this recommendation may be reconsidered. The need for longer “rest” times before campaign measurements was based on the self-healing effect that was observed. However, recently this effect was not pronounced.

· Clarifications required: 

AI_L1_9.01:  H. Oelhaf to provide inputs to April/May planning (due: 24.02.06)

AI_L1_9.02:  P. Mosner (Astrium) to check when the INT heater is supposed to be switched off due to FCA constraints (monitoring requirement) – due date: 17.02.06

· Feasibility of AE measurements over a full orbit: seems to be not feasible with the conventional SEM scenario due to the high number of MCMD’s to be uploaded for a complete orbit (would be in the range of 21 MCMD’s per 19 scans). However, Astrium pointed out that possibly the AE measurements could be achieved by modification/redefinition of the background mission. 

AI_L1_9.03: R. Gessner(Astrium) /M. de Laurentis (Rhea) to elaborate a possible scenario to achieve this (due date: 17.02.06)

0.3 Data Acquisition Status (F. Niro/ESRIN)

-
Presentation of status - see handout

0.5 Instrument Status (P. Mosner/Astrium)

Presentation of status - see handout

· The overall instrument availability has improved significantly since the INT Heater was switched on. An increased duty cycle up to max. 40% can therefore be envisaged to see how the system behaves.

· Decontamination activity planning: It was recognised that the FCA performance depends also on the amount of ice within the FPS. The gain evolution of Channel A1 is a direct indication of the ice layer on the cold surfaces of the FPS (mostly detector). The weekly gain increase of about 1% is considered to be only one factor that contributes to the decision on when to perform the next decontamination activity. 

· In order to plan for a further decontamination activity, the following actions have been agreed:

AI_L1_9.04: Level 2 (TBD) to assess the effects of NESR increase on the retrieval quality (due: TBD)

AI_L1_9.05: Level 1 (F.Niro/ESRIN or G. Aubertin/BOMEM) to assess the effects of nonlinearity coefficients upon gain increase (due: TBD)

AI_L1_9.06: F.Niro/ESRIN to collect the gain data obtained in the mission and distribute to other parties (due: TBD)

AI_L1_9.07: P.Mosner/R.Gessner (Astrium) to propose, based on the gain data and the FCA constraint (see AI 03) a sensible date for passive decontamination (due: TBD)

1) Level 1B

1.1 Level 1B Configuration FN (ESA)  
- Operational ground segment

- calibration environment

DLR-MB : What is the gain increase acceptable for L2 ?

AI_L1_9.08: (ESA, FN) (BOMEM, GA) to check the differences in the gain calibration between the daily and the weekly interpolated gain to individual days. A gain maximum threshold should be defined to decide when decontamination should be performed.
- prototype environment

- QWG deliverables

1.2 Anomaly Investigation Status FN (ESA)  
- Number of sweeps per scan

- Wrong Consolidated products at DPAC

AI_L1_9.09: (ESA, FN) to provide a list of the wrong consolidated datasets to the QWG.
- Non valid band A at same geo-location (see Bomem 1.5 presentation)

- AE 2km tangent altitude bias

AI_L1_9.10: (ESA, TF and MD) to double-check if a LOS sideways can be performed.
1.3 Level 1B Monitoring FN (ESA)
- current monitoring baseline: 

- monitoring results

L0 product daily monitoring for instrument temperatures, cooler monitoring, cooler vibration, IDU and MIO temperature.

L1B product daily monitoring not operational to be resumed with new IPF 4.65

L1B long term monitoring for Gain calibration, Spectral correction factor, LOS calibration

1.4 Status of the L1B prototype GA (BOMEM)    
- Gain Interpolation MICAL chain implemented

- Restituted attitude method for LOS calibration implemented

- Interferogram truncation to 8cm for reduced resolution

- Azimuth/elevation angles (topocentric coordinates) in MDS record

AI_L1_9.11: ABB Bomem to contact Brian Kerridge and check his preference for target-satellite or satellite-target elevation/azimuth angles in topocentric coordinates in MDS record.

1.5 L1B Investigation Status GA (BOMEM)     
- Feedback on L1B interferogram monitoring. Current monitoring presented, no additional interferogram monitoring items foreseen by QWG. Close AI-L1_3.02
- Corrupted transmission sweeps: 10 march 2004 (AI_L1_7.01)

No corrupted sweeps with L1B prototype,

Not in NRT products, only in consolidated data,

Not a problem with IPF

Anomaly seems to be related to consolidation

AI_L1_9.12: ESA-FN, ABB BOMEM-GA to extend study to other consolidated products and if confirmed, open an SPR against the Consolidation S/W.

- Very high missing ISPS in L0 products

RG: Possibly a problem in the transmission from the platform if other instruments show similar

AI_L1_9.13: ESA-FN to investigate the problem on the basis of the L0 processor.
1.6 Level 1B performance assessment GA(ABB BOMEM) 
Radiometric gain interpolation (jan-may 2005)

- Relative error between consecutive gains. Refer to AI L1-9.01 above for further investigations.

LOS calibration

- Comparison CL1 LOS calibration vs. Retrieved Attitude method. Difference between 1.8 to 2.0 km.

Spectrum interpolation vs. Resolution degradation

- Comparison spectrum obtained using interpolation/undersampling vs. resampling for 8cm MPD.

- NESR difference

- ILS comparison

AI_L1_9.14: IFAC to perform tests on L2 on the truncated/resampled datasets provided by BOMEM.
1.6a Spectra with different interferogram truncation 
 (M. Carlotti) (UB)
- Difference due to truncation larger than RMS noise.

1.6b Analysis of L1B products with restituted attitude 
 (B. M. Dinelli) (ISAC)
- Difference in spectra for with and without restituted attitude. Spectra should be the same.

- Difference in band D much too high for orbit 12963 in one of the direction (forward / reverse different behavior)

- Some sweeps in new L1B product flagged as corrupted while OK in previous L1B product (orbit 10600)

- New tangent point locations lower than previous ones

- New retrieved profiles smoother than before

AI_L1_9.15: ESA-FN, ABB Bomem-GA to compare the input files used while processing L0 product and to identify possible differences in the ADF settings.
1.6 Other point

 - Data L1B products missing for August 2002, planning confirms the instrument was operating

-  Also, 30 Files on 20 August 2003, same versions but with different processing numbers. Clarified with the help of PS.

AI_L1_9.16: ESA-FN to include unavailability EN-UNA-2002/120 (6-22 August 2002) in the list of unavailabilities on the web site.
1.7 Review Level 1B workplan (BOMEM/All)
IPF:


Revise the spectral calibration/correction approach


Update DPM document for IGM truncation

ADF:


New PS1 ADF with 8cm MPD


Update IODD (mid-February)


Check 5 microwindows for fitting the spectral calibration, one for each channel

AI_L1_9.17: ABB BOMEM to send actual microwindow dictionary to JMF for checking of position and intensities.

Monitoring of the quadratic terms of spectral calibration in L1B needed for a later implementation in the Level 2

AI_L1_9.18: ABB BOMEM to calculate the quadratic terms of the spectral calibration and add them in the L1B product.

AI_L1_9.19: ABB BOMEM to include the ILS frequency shift in the ILS calibration for each microwindow. Check if a spare field is available.

AI_L1_9.20: ABB BOMEM to include the IDU temperatures in the MDS record. Check if a spare field is available.

Next cycle (2nd/3rd) improvements:

Self-phase correction: more studies needed, should be followed. At this point to early to implement.

Improve LOS calibration: Actions are necessary to resolve the problem of the two kilometres difference between the restituted attitude and the LOS calibration methods.

AI_L1_9.21: ABB BOMEM to rank the proposed improvements with the L1B team and provide status/presentations at the next QWG meeting.

2) Level 2

2.1 L2 configuration status

2.1.a F. Niro (ESA), makes a prevention on “Level 2 configuration status”. He describes  IPF 4.65 updates. The NRT operations are not going to be restarted yet. IPF 4.65 has been validated, the processing should start on 1st Feb 2006 at DPAC.

J.M. Flaud (LISA) remarks that assimilation people want to know when ESA plans to release data.

T. Fehr (ESA) answers that DPAC has priority on L1 of September/October Reduced Resolution (RR) data then L2, if there are no major problems, the overall reprocessing will take about 1 year.

2.2 Anomaly investigation status

2.2.a F. Niro (ESA) makes a presentation on “Anomaly Investigation Status”

·  “Anomalous processing time”

P. Raspollini (IFAC) recalls that ADFs have been changed to avoid this problem. 

The anomaly is to be considered as closed.

· “Excessive Chi-square” in NO2 reported in previous meetings. A bug was found and the anomaly is closed.

·  “Differences on L2 products between v4.61 and v4.62”. There is a discrepancy between IPF and the prototype, the anomaly is now under investigation by DJO, files v4.61 seem better than v4.62.

· “Beat-check failure on some L2 products”. A discrepancy between IPF and the prototype was found and DJO is investigating.

·  “NO2 retrieval during polar conditions”. See presentation by P. Raspollini 2.6.b.

· “Excessive processing time for L2 production of RR data with IPF 4.65”. For instance RR data of 10 Aug 2004 took 15h58'08'' to process and data of 15 Aug 2004 took 9h14'22''.


T. Fehr notes that the ground segment has problem with processing time longer than 12h. He 
suggests to investigate.


P. Raspollini asks the number of iterations.


F. Niro recalls that with RR the number of the scans is doubled (>120 scans).


B. Carli (IFAC) notices that an increasing factor of 3 or 4 in the computing was expected, as 
a consequence of a larger number of microwindows, a broader spectral range and the double 
of the scans. He also recalls that the 30% duty cycle, makes the total computing time 
comparable to the one used before.

AI_L2_9.01 ESA to check for the processing specifications at D-PAC
2.3 L2 performance assessment

2.3.a F. Niro makes a presentation on “L2 monitoring”. He gives examples of L2 daily monitoring and L2 monthly monitoring.


T. Fehr adds that ESA will bring this on-line also for some historic data


S. Bartha (ASTRIUM) suggests that this report can be useful for L2 that took 16h of 
computing time

2.4 Contents of the L2 baseline upgrade

2.4 S. Ceccherini (IFAC) makes a presentation on “Content of the L2 Baseline Upgrade”, he addresses the modifications described in a document released on 18th Oct 2005.


T. Fehr asks if the modifications of the cloud filtering are in the document.


P. Raspollini answers they aren't and suggests to keep the documents separate.


T. Fehr agrees to keep the documents separate.

AI_L2_9.02 IFAC and UL to produce an update of the Level2 baseline upgrade document released on 18th Oct 2005 with separate contributions.

2.5 ML2PP status

S. Bartha explains that there are no updates.

2.6 Level 2 investigation/study status

2.6.a S. Ceccherini makes a presentation on "Update of IFAC AI", he proposes to consider his e-mail on 4/10/2005 and B. Carli on 19/1/2006 as input for SOW


T. Fehr agrees.

2.6.b P. Raspollini makes a presentation on “NO2 degradation (AI_L2_8.08)”. She explains that instabilities in NO2 profiles seem to be caused by the saturation of NO2 lines below 43km, and suggests that the MW selection should consider the case of enhanced NO2 concentration


A. Dudhia (OU) agrees. He suggests to add enhanced NO2 profiles to the scenarios used for 
MW selection.

AI_L2_9.03 OU to check if NO2 retrieval can be improved with a different MWs selection

2.6.c P. Raspollini makes a presentation on “Investigations on CH4/N2O oscillations”. She investigated the possible causes of oscillations, T errors, convergence, IG are to be excluded. She verified V. Payne's input (T smoothing error) and concluded that this is not the cause for the considered case. A test with different MW selection gives better results on NO2 but only slightly reduces oscillations in CH4.  She concludes that N2O oscillations are caused by systematic error or insufficient information, for CH4 the problem is not solved with the existing MWs. Investigation is ongoing and she will repeat the analysis for further test cases for which correlative measurements are available

AI_L2_9.04 IMK to provide data sets (T, CH4, N2O) for correlative measurements.

AI_L2_9.05 IFAC to study this further test cases

2.6.d A. Dudhia makes a presentation on “MW selection for new (1.5km min spacing, floating altitude ±3 km offset) nominal modeh. In Nov 2005 he found a bug and suggests not to trust old MWs for 1.5 km spacing, error-analisys was over-optimistic especially at high altitudes. MWs selection and LUTs are complete for pT, H2O CH4 N2O. There is now a large pT random error that dominates the error budget of other VMR retrievals, while random and systematic errors for other species are acceptable.


B. Carli asks when the MW will be released


A. Dudhia answers this can be done in a couple of weeks.


M. López-Puertas (IAA) says that using pT MWs in a larger band will lead to have problems 
with NLTE


A. Dudhia answers this is taken into account in the selection


F. Niro asks if the total error will now be larger


A. Dudhia answers that this suggests the use of regularisation to reduce the error

2.6.e J. Hurley (OU) makes a presentation on “Analysis of D Band Cloud Flag”. She describes anomalous situations where D Band flags a cloud but the A band does not. She investigates if there is a correlation between these anomalous flagging and extremely low retrieved H2O VMR. She concludes that the correlation is not high enough to use the anomaly as a detection mechanism for poor data.  She investigates on D band sensitivity to clouds and day/night differences in D band, she concludes that D band is not reliable and recommends the use of A band flag instead.


S. Bartha notes that this result is in contradiction with the algorithm proposed by J. 
Remedios


T. Fehr adds that comments by J. Remedios are needed.

AI_L2_9.06, OU and UL: To check the impact of this study on the proposed cloud scheme

2.6.f A. Burgess (OU) makes a presentation on RR Retrievals and Oxford L2 Monitoring and shows results on comparison of retrievals made with two L1 files for orbit 17540 (8.2 cm data and 8cm truncated version). He does not find differences in T retrievals


B. Carli notes that in this case the systematic effect on the average profile of the orbit is also 
important


A. Burgess confirms that this is a worthwhile test.

A. Burgess shows investigation on retrievals made with two L1 versions of orbit 14404, no differences are found


B. Dinelli (ISAC) notes that the L1 files have different pointing informations 


A. Burgess explains the results are plotted against nominal altitudes


T. Fehr asks to double check the results

AI_L2_9.07 OU: To check if the correct input files were used in the comparison

A. Burgess continues showing Oxford L2 monitoring web-page

2.6.g H. Sembhi (UL) makes a presentation on “Cloud Detection and Reference Atmospheres”on behalf of J. Remedios and R. Leigh. She presents Band A vs Band D analysis and a new proposed "general" algorithm by J. Remedios. She presents the new IG2 reference climatology database v4.0.

2.6.h T. Steck (IMK) makes a presentation on “Small (or rather negative) O3 values in the tropical tropopause region”. He explains that in IMK O3 retrievals there are a considerable number of negative values of O3 in the tropical tropopause region. This happens also in ESA retrievals, where 10e-10 values appear instead, and he discusses the possible causes.

A discussion is made on the possible causes, negative values are not unrealistic,  they are consistent with statistics if the error bar is large enough. Setting the negative value to a small positive (10e-10) causes a small bias in the average profile but this was required to avoid a possible overflow in the computation of the absorption.

2.6.i M. López-Puertas makes a presentation on “NLTE studies NO2, CH4 N2O”. He describes investigation ongoing for understanding the NLTE processes and quantifying the NLTE effects. He reports first detection of non-LTE in CH4 and N2O emissions.

2.6.j M. Birk (DLR) makes a presentation on “New spectroscopic database of water for MIPAS”. He examines the status (and deficiencies) of current database and goals of the new database. The beta-version of the database will be available on ftp soon. He recommends criteria and precautions to select MWs.


J.M. Flaud says that check will be needed to avoid inconsistencies since this represents a 
major 
change 


M. Birk suggests to perform quality assurance checking of the DLR data using the chi2 

2.6.k JM Flaud makes a presentation “NO+ fundamental and first hot ro-vibrational line frequencies”. He shows results of comparison with previous data. He proposes to include the new line positions up to J''=40 in the MIPAS db, for the rest remaining as in HITRAN.

2.6.l B. Carli makes a presentation on "Systematic errors"

 He explains that a reduction of systematic errors is very important. 


1. Radiometric gain error is presently ±2%. 


A discussion is made.

AI_L2_9.08 IMK, DLR:  To provide justification for a reduction in the radiometric 
gain error (within 6 weeks see 2.8.a)


2. Apodised ILS width tests performed suggest that one order of magnitude reduction is 
possible.

AI_L2_9.09 ALL: to consider possible causes for correlation of residuals with second order error derivative other than ILS broadening (within 6 weeks see 2.8.a).


3. error on target species profiles is +/- 10%. Is this optimistic?


A. Dudhia says it is possible to consider the estimate of random error provided by the MW 
selection. He wonders if this is correct or we should use a combination of retrieval and 
climatological errors.

AI_L2_9.10 Astrium (S. Bartha)  to verify which profile is used of already retrieved 
species (within 6 weeks see 2.8.a).


4. Profiles of unretrieved gases

AI_L2_9.11,  UL: To update the error estimate on the climatological values of the 
unretrieved gases (within 6 weeks see 2.8.a).


5. Spectral db errors

AI_L2_9.12: LISA to update the error estimates of the spectroscopic database (within 
6 weeks see 2.8.a)


6. Continuum model


Used in MWs selection not in the error budget. Maintained


7. pT error propagation


This has already been updated.


8. NLTE effects


These have already been updated.


9. CO2 line mixing
AI_L2_9.13: UB to update the CO2 line Mixing model (within 6 weeks see 2.8.a).


10. Horizontal T gradients


Confirmed

AI_L2_9.14: OU to update the list of errors according to input of the AIs from AI_L2_9.08-9.15 (within 8 weeks see 2.8.a).

2.6.m M. López-Puertas “L2 ofl comparison for NO2”. He investigates on a positive bias 5-10% both in day and night. High altitude L2OFL ESA data look unrealistic.

AI_L2_9.15: OU to process the orbits of 24 September (day/night) for comparison 
with the results of the IMK/IAA retrievals and identify possible differences, in 
particular at high altitudes. 

2.8 L2 workplan

Since some people have an early flight this topic, which involves several interfaces is discussed before the validation activities (2.7).

2.8.a B. Carli describes the “Schedule for ADF2 deliveries”. He reviews actions required for ADF generation. 

Spectroscopic line list (IMK) was never used for  flight data, however this is useful for ORM tests.

Planned ADFs:


- ADF Reduced Resolution new measurement scenario


- ADF Full Resolution old measurement scenario


- ADF: Reduced Resolution old measurement scenario

He shows activity in progress for RR in new scenario

AI_L2_9.16: OU, within 8 weeks, possibly earlier, OU to deliver MW, OM, LUTs.

AI_L2_9.17: Astrium, within 8 weeks, possibly earlier, to finalise the format of ILS and frequency calculation changes.

AI_L2_9.18: IMK to update spectroscopic line list within 16 weeks

AI_L2_9.19: IFAC to define PS2 settings within 16 weeks

AI_L2_9.20: IFAC to deliver the updated set of ADFs within 18 weeks.

He lists the activities finalised to the update ADFs for FR old measurement scenario in the next 18 weeks. After that a new cycle will be started for the production of the updated ADFs.

New spectroscopic db, and new systematic errors have to be delivered within 8 weeks. This explains the schedule of  the AIs from AI_L2_9.08 to AI_L2_9.15.

AI_L2_9.21: OU to produce the error spectra within 18 weeks.

General: Next QWG Meeting: We-Fr 14 (afternoon), 15, 16 (morning) June 2006, Location: IFAC, Florence.

2.7 Feedbacks from validation activities

2.7.a Marco Ridolfi describes the “Preliminary results of T validation”. He lists the data used in validation. A generally good agreement is found.

2.7.b Ugo Cortesi describes the “Preliminary results of O3 validation”. He lists the data used in validation. A generally good agreement is found.

2.7.c  Hermann Oelhaf describes the “Status of validation papers/activity”.


Minutes of Karlsruhe meeting are available on the FTP-Server


Draft Paper: 01 April 2006


Final Paper: 30 April 2006



He requests the reprocessing of 4.62 needed for the validation

S) Splinter Meeting

AI_S_9.01: BOMEM: L1b IODD before 15 February 2006.

AI_S_9.02: BOMEM to provide Level 1b test file for Level 2 before 01 March.

AI_S_9.03: IFAC to provide ASTRIUM with the modified ORM.

AI_S_9.04: ASTRIUM to provide a timeframe of when the work on MIPAS can begin, as well as a deadline for the L2 IODD before 08 February.

The decision was taken to adopt quadratic parametrisation of the frequency shift, first as a monitoring, but already to include implementation capabilities in the next upgrade with a switch in the Level 2.

Level 1 reports Slope (linear fit), Slope (quadratic fit), quadratic (quadratic fit), using spares in the MDS

AI_S_9.05: ESA To clarify if the Level 2 IPF can read “old” Level 1 data

AI_S_9.06: BOMEM to clarify where IFAC can find L1 files (8 and 8.2)



MM

